MRC CAMBRIDGE IMAGE PROCESSING SYSTEM 28-Sep-2006

=================================================

Judith Short,

LMB, MRC Centre,

Hills Road,

CAMBRIDGE CB2 2QH

+1223 248011

jms@mrc-lmb.cam.ac.uk

CONTENTS

1.   Overview and general philosophy

2.   How to get started

2.1    Using existing libraries

2.2    Implementation

3.   Documentation of existing standalone programs - INDEX

3.1    General programs for processing micrographs

3.2    2-dimensional crystal processing programs

3.2.1    Image analysis

3.2.2    Electron diffraction patterns

3.3    3-dimensional helical programs

3.4    Rotational averaging and filtering

3.5    General display programs

4.   References to published papers which describe these programs.

5.   Image data file Format

1. Overview and general philosophy

==================================

The system of image processing programs developed by past and

present members of the Laboratory is used in various forms worldwide

for determining the structure of macromolecular assemblies.   The

approach has been to study specimens with some form of symmetry, such

as crystals or helical and icosahedral particles.   Programs suitable

for many kinds of 2-D and 3-D analysis have been written.   The

philosophy has been to write largely stand-alone FORTRAN programs for

carrying out the various steps of processing.   At the present time,

there are about 70 stand-alone programs, varying in length from a few

lines to many thousands of lines of code. The unifying principle has

been to use a standard format (MAPFORMAT) for images and Fourier

transforms and postscript format for graphics files.   These are also

used in the crystallographic CCP4 system.   In the later stages of

some of the procedures, for example in high resolution electron

crystallography, amplitudes and phases are put into a third standard

format, that of LCF (labelled column format), which allows direct access

to the X-ray crystallographic software in CCP4.

Libraries of standard subroutines are available for reading, writing and

manipulating files.   A user program written to accept files in these

three formats and producing output in the same three formats thus fits

directly into the system, with no need for any modifications to existing

structures.   The libraries can be invoked at the linking step under

PC/LINUX, Mac/OSX, DEC/UNIX or SGI/IRIX. We have produced FORTRAN user

codes that will run under these systems without modification.

MAPFORMAT involves each image or transform having an initial

header block 1024 bytes long, which specifies the type and size of the

file, the maximum, minimum and mean densities and information about

origins.   Most importantly it also contains a label field which

provides a history of processing operations that have been applied to

the image; the convention is that each program adds a label containing

a one line description of the operation and time of running.   More

information about IMAGE format files and the subroutines (IMSUBS2000)

for manipulating them is given in section 5.   Briefly, the IMSUBS2000

routines are written in FORTRAN and themselves call lower level routines

for the actual reading and writing; these lower level routines are

written in FORTRAN and in C. Programs producing graphical output use

PLOT2K routines and the resulting  postscript format files can be sent to

a laserprinter, or viewed on a terminal, using programs such as ghostscript

or xview which may be installation dependent.   Thus apart from getting

digitized data into the system and hard copy out, the system of programs

can be used as a coherent whole, independent of the particularities of

the installation.

2. How to get started.

=====================

Installation is described in /image2000/README. First build all the libraries

and executables using a .bld file specific to your system. Binaries will

then be written to /image2000/bin and all have the extension .exe

2.1 Using existing libraries

For developing a new program, the following libraries might need to be

invoked:

ifftlib         Fourier transform routines

imlib2k           Routines for handling image format

genlib          Lower level routines invoked by imlib

plot2klib       Graphics routines

misclib	 Miscellaneous routines from mtzlib, lcflib, miscsubs

2.2 Implementation

The standalone programs, while (mostly) written in standard

FORTRAN, call various subroutines which hopefully carry all the machine

specific subroutines.   The following source libraries will be needed, as

discussed above (section 2.1):

ccplib.for

diskio.for

ifftsub.for

imsubs2000.for

lcflib.for

library.c

library.h

mtzlib.for

miscsubs.for

parser.for

plot2k.c

subs.for

symlib.for

unix.m4

3. Index of existing stand-alone programs

=========================================

3.1  General programs for processing micrographs :

-------------------------------------------

1.  BANDPASS     Bandpass filters stack of images.

2.  BOXIM        Standard boxing program for selection of an area.

3.  BOXIMAGE     Similar to above, leaves boxed area in original position.

4.  FFTRANS      Fast Fourier transform.

5.  HEADER       Prints out information in header records.

6.  IMEDIT       General editing program for image headers

7.  INTERPO      General 2D re-interpolation program

8.  LABEL        Image handling, does a few nice things.

9.  MRC2TIF      Converts MRC image format to TIFF format.

10.  REMORIG      Remove origin peak in transform to correct background.

11.  TAPEREDGEK   Tapers the edge of an image to remove spikes.

12.  TIF2MRC      Converts TIFF format files to MRC image format.

13.  TRMASK       Masks transform for filtering

14.  TRNOUT       Output amplitudes & phases to line printer.

15.  TWOFILE      Linear combination, or multiply/divide data in two files.

3.2  2-dimensional processing programs :

---------------------------------

3.2.1 Image Analysis :

--------------

1.  EMTILT      Calculate tilt angles from lattice parameters

2.  MASKTRANA   Masks transform for filtering, like TRMASK

3.  AUTOCORRL   Autocorrelation calc + expansion - use with QUADSERCH

4.  QUADSERCHK  Correlation peak search on lattice, with profile fit

5.  CCUNBENDK   Unbend image using list of peaks from QUADSERCH

6.  MMBOXA      Sophisticated version of NNBOX, producing Amps, phases

7.  TTBOXK      Corrects for tilted transfer function, gives Amps, phases

8.  TTMASK      Combined MASKTRAN and TTBOX, masking + TTF corr on tilted

9.  TTREFINE    Refines defocus, astig, tilt params on tilted images

10.  CTFSEARCH   Refine or search for correct defocus, astigmatism

11.  CTFAPPLYK   Applies CTF to data from MMBOX, with graphical output

12.  CTFCALCK    Computes CTF curves for chosen values of Cs, KV, Defocus

13.  CTFFIND2    Determines defocus and astigmatism.

14.  CTFFINDA    Finds and applies CTF correction.

15.  ORIGTILTK   Combine data from different images using crystal symmetry

16.  LATLINEK    David Agard's least squares latline fit of Amps, phases

17.  ALLSPACEA   Determines space group, origin, beamtilt on single image

18.  AVRGAMPHS   Overall averaging of amplitude and phase projection data

19.  MAKETRAN     Create reference transform from MTZ file - given defocus

20.  SCALIMAMP3D  Scales image amplitudes to selected reference data

3.2.3  Electron diffraction patterns :

-----------------------------

1.  BACKAUTOK   Calculates radial background and finds centre of pattern

2.  AUTOINDEXK  Finds two simplest lattice vectors automatically

3.  PICKAUTOK   Integrates and background corrects el.diff. spots

4.  MERGEDIFF   Merges e.d. data and does a host of corrections

5.  AVRGFDELF   Averages multiple measurements of delta-F from MERGEDIFF

6.  SYNCFITP3   Fits lattice line curves to output from MERGEDIFF

7.  AVRGINTENS  Overall averaging of electron diffraction ints. in projection

3.3  3-dimensional helical programs :

------------------------------

1.  HLXSEARCH   Determine tilt and origin.

2.  HLXDUMP     Dumps layer line data from transform

3.  HLXFIT      Orientations & origins of different particles

4.  HLXAVG      Averages data from different particles

5.  HLXFOUR     Fourier program

6.  HLXPROJ     2D filtered image from layer line data

7.  HLXDYAD     Imposes twofold normal to axis

8.  HLXSEPDAT   Feeder for HLXSEPR

9.  HLXSEPR     Separates overlapping Bessel functions

10.  HLXLLOUT    Graphs standard layer line data

11.  HLXSIMUL    Simulates image of helix

12.  HLXFITT     Orientations & origins of different particles

3.4  Rotational averaging and filtering :

----------------------------------

1.  RFILTIM     Rotational filtering

2.  ROTAV       Rotational averaging of 2D images or 3D maps about z axis.

3.  IMROTRAN    Rotates/translates 2D image - search to maximise correlation.

3.5  General display programs :

------------------------

1.  LASERTONE   General program for output of tone files.

2.  LASERTEXT   General program for output of text files.

3.  HISTOK      Makes  histogram of densities in an image.

4.  Ximdisp     General X-Windows based display program.

5.  THREED      Displays 2D array as  simulated 3D contoured surface.

6.  SURF	 Calculates surface

7.  LIGHT 	 Displays 3D maps as shaded surfaces.

4.   References to published papers which describe these programs.

============================================================

MRC Image Processing Programs

R.A. Crowther, R. Henderson and J.M.Smith

Journal of Structural Biology, 116, Pages 9-16 (1996)

XIMDISP - A visualization tool to aid structure determination

from electron microscope images.

Judith M. Smith

Journal of Structural Biology, 125, Pages 223-228 (1999)

5.   Image data file Format

======================

************************************************************************

*                                                                       *

*                Map/Image Header Format                                *

*                                                                       *

*        Length = 1024 bytes, organized as 56 LONG words followed       *

*       by space for 10 80 byte text labels.                            *

*                                                                       *

*       1       NX      number of columns (fastest changing in map)     *

*       2       NY      number of rows                                  *

*       3       NZ      number of sections (slowest changing in map)    *

*       4       MODE    data type :                                     *

*                       0       image : signed 8-bit bytes range -128   *

*                                       to 127                          *

*                       1       image : 16-bit halfwords                *

*                       2       image : 32-bit reals                    *

*                       3       transform : complex 16-bit integers     *

*                       4       transform : complex 32-bit reals        *

*       5       NXSTART number of first column in map (Default = 0)     *

*       6       NYSTART number of first row in map       "              *

*       7       NZSTART number of first section in map   "              *

*       8       MX      number of intervals along X                     *

*       9       MY      number of intervals along Y                     *

*       10      MZ      number of intervals along Z                     *

*       11-13   CELLA   cell dimensions in angstroms                    *

*       14-16   CELLB   cell angles in degrees                          *

*       17      MAPC    axis corresp to cols (1,2,3 for X,Y,Z)          *

*       18      MAPR    axis corresp to rows (1,2,3 for X,Y,Z)          *

*       19      MAPS    axis corresp to sections (1,2,3 for X,Y,Z)      *

*       20      DMIN    minimum density value                           *

*       21      DMAX    maximum density value                           *

*       22      DMEAN   mean density value                              *

*       23      ISPG    space group number 0 or 1 (default=0)           *

*       24      NSYMBT  number of bytes used for symmetry data (0 or 80)*

*       25-49   EXTRA   extra space used for anything  - 0 by default   *

*       50-52   ORIGIN  origin in X,Y,Z used for transforms             *

*       53      MAP     character string 'MAP ' to identify file type   *

*       54      MACHST  machine stamp                                   *

*       55      RMS     rms deviation of map from mean density          *

*       56      NLABL   number of labels being used                     *

*       57-256  LABEL(20,10) 10 80-character text labels                *

*                                                                       *

*       Symmetry records follow - if any - stored as text as in         *

*       International Tables, operators separated by * and grouped into *

*       'lines' of 80 characters (ie. symmetry operators do not cross   *

*       the ends of the 80-character 'lines' and the 'lines' do not     *

*       terminate in a *).                                              *

*                                                                       *

*       Data records follow.                                            *

*                                                                       *

*                                                                       *

***********************************************************************