GENERAL PROGRAMS FOR PROCESSING MICROGRAPHS

-------------------------------------------

0. HEADER:

---------

This is probably the simplest program of all.  It simply reads the header

information and prints it out.  Information in EXTRA locations is also

displayed.

1. IMCON:

--------

Runs online with prompts.  This program converts from the format produced

by the densitometer microprocessor into MAP/IMAGE format with appropriate

entries in the CELL, NXYZ, MXYZ, DMIN, DMAX, DMEAN and EXTRA locations of the

header.  It asks whether image is destined for Alliant or Vax since there are

REAL*4 entries in the header which each computer codes differently.  This

program is THE interface to densitometry therefore is almost certain to require

alteration for installation at a different site.

2. LABEL:    Version 1.18	26-MAR-92    RH

---------

Runs online with prompts. This program is a general purpose program which

carries out a variety of useful manipulations.  The menu is given below.

Available modes of operation are:

-2: Change INTEGER*2/INTEGER*1 output format

-1: Change REAL/INTEGER*2 output format

0: Change Labels

1: Select region

2: Linear OD stretch  ( y = mx + b )

3: Logrithmic  OD stretch ( y = aLOGx + b )

4: Average adjacent pixels

5: Output amplitudes or Intensities'

6: Output Phases (degrees)

7: Output REAL part of Complex value

8: Output IMAGINARY part of Complex value

99: More options, mainly for display purposes

1: VARIOUS 90 DEG TURNS AND MIRRORS

2: GEOMETRIC STRETCH ( y = m**X )

3: CUT OFF OVER - AND UNDERFLOWS

4: GET RID OF OUTLIERS BY INTERPOLATION

3. FFTRANS:

-----------

This program will do 2 dimensional FFTs in either direction. The real-

space origin is at (1,1) and the origin of reciprocal space is at (1,NY/2+1).

The fourier transform of an image NX, NY is NX/2+1,NY complex values.

Very large images (up to 8000 * 8000) are transformed using the disc based

routine BIGFFT. The switch point is now determined by the available working

set size. Small images are processed in core.  On the Alliant, everything is

in core.  3-dimensional images are treated as image stacks, each section being

transformed independently; only single sections of large images may be used.

Input stream IN input image or fourier transform

Output stream OUT output fourier transform or image

No input parameters are required

4. TRNOUT:

----------

Program to shift quadrant of FFT to produce suitable amplitude & phase

output for the line printer i.e. the transform is continuous across the

meridian. The output is log base 2 (amplitude) on a scale 0 to 9 and

phase is in 10 degree intervals coded A - Z 0 - 9

At present can only put out central 129 columns about F(0,0).

Data input stream 5:

FMAX, IXMAX, IYMAX, XSHFT, YSHFT, IOUT  (*)

FMAX sets the level above which all amps are set to 9

IXMAX sets halfwidth in transform steps

IYMAX  sets the number of Y lines output.  Maximum 256.

XSHFT, YSHFT X & Y shift for phase origin in grid units

IOUT sets output mode

= 0 writes all output to unit 6

= 1 writes transform output to line printer

= 2 writes transform output to laserprinter

Transform input on stream 1 (IN)

Output amplitudes for TONE on stream 2 (OUT).  NL: if not required.

5. TRMASK:

----------

Program for masking a fourier transform

Data input stream 3:

ISHAPE, IPIXEL  (*)

if ISHAPE = 1,2 : IH(I), IK(I), XC(I), YC(I), RAD(I)  		(*)

if ISHAPE = 3:    IH(I), IK(I), XC(I), YC(I), DELX(I), DELY(I)	(*)

ISHAPE  if = 1 hard edge circular holes

if = 2 soft edge circular holes gaussian weighted to EXP(-2) at edge

if = 3 hard edge rectangular holes

IPIXEL pixel size used in TONE display of transform (in 1/100 inch)

if IPIXEL=0, XC etc taken to be transform steps

IH, IK  indices of spot

XC, YC  hole centre in mm on TONE output measured from F(0,0) X positive

across page to right, Y positive up page, from pixel centre to

pixel centre.

RAD     radius for circular holes in mm.

DELX    half edge lengths for rectangular holes in mm.

DELY     "   "   "

Transform input on stream 1 		(IN)

Output masked transform on stream 2 	(OUT)

6. INTERPO: General 2D reinterploation program - runs online with prompts.

----------

7. SPLINEFIT: Runs online with prompts, displaying on AED.

------------

This program displays a filament (from an image file), fits a cubic spline

to it, and then straightens it according to a choice of two different

algorithms.   The first method "shears" the curved filament by generating

new slices with linear interpolation which are shifted with respect

to the original image.   The second method assumes a "normal mode of bending"

where area elements on the inside of a curve are compressed while those on

the outside are expanded.   It calculates the line of density normal to the

spline curve (with bilinear interpolation), tilts them back to horizontal, and

shifts them with respect to the original image to generate a straight filament.

An output image file is created if desired.

Uses Harwell Subroutine Library routines  VC03AD, and TG01BD.

8. BOXIM:

---------

(Largely obsolete, use IMDISP unless special reasons for using BOXIM

e.g. Large map)

BOXIM cuts out a specified area from a standard format image file.  It is usual

first to TONE the file from which a circular or polygonal area can be marked

off.   A mean density is calculated from the edge points of the box.

For a circular area the edge coordinates are calculated line by line

to determine whether or not a point lies inside or outside the area.

For a polygonal area a line is constructed from each point vertically

upwards; if it crosses an even number of box sides it lies outside.   If not

it lies inside and has the mean density subtracted from it thus 'floating' the

new image. (For points close to a box side the slope of the line from the point

to vertex 1 of the box side is calculated and compared with the slope of the

box side).  Finally the new image is moved to the bottom left hand corner of

the new box and the rest of the array is padded with zeroes.

Data input stream unit 5:

NXPAD, NYPAD, IPIXEL, NOVERT   (*)

OX, OY    (*)

For a circular box (NOVERT = 0) :

CX, CY, RAD    (*)

For a polygonal box (NOVERT > 0):

PX(I), PY(I)  (*)

NXPAD 	new padded box size e.g. 512 512

NYPAD

IPIXEL  	pixel size of input file

NOVERT  	0 for circular box.Number of vertices for polygonal box

(up to 20)

OX, OY	coordinates in mm. of new phase origin.If set to 0.0 0.0 centre

of image assumed

CX, CY, RAD coordinates of centre of box and radius all measured in mm.

origin bottom left hand corner.

PX, PY  X and Y coordinates of vertices which must go in circluar

(clockwise or anticlockwise) order. THey are measured in mm.

origin bottom left hand corner.NOVERT of these records.

Input stream IN    densitometered input file

Output stream OUT    new boxed output file

EXAMPLE command file

$BOXIM IN PY42165.DAT OUT PY42165.OUT

$GO

256 256 1 6

40. 40.

40. 10.

20. 30.

20. 50.

40. 70.

60. 50.

60. 30.

9. BOXIMAGE:

------------

Simple boxing program to create circular or polygonal box with no change

in image size.  This makes it quite suitable for the FFT cross-

correlation method.

Input original image on stream 1 (IN)

Output boxed image on stream 2 (OUT)

derived from BOXIM (27-AUG-82)

1.	NOVERT		  -number of vertices, 0 for circular box (*)

2.	OX,OY		  -phase origin position                  (*)

3a.	CX,CY,RAD1,2,3,4  -centre coords and radii if circle      (*)

:note four radii are for a tapered toroidal

:mask. A simple circle would have RAD1,2=0

:and rad3,4 equal to the required radius.

or	3b.	PX(I),PY(I)	  -coords of vertices if polygon          (*)

:note origin is (0,0) at lower left corner.

NOTE : Specify points in image wrt origin (0,0) in bottom left corner.

Therefore the middle of a 1024x1024 image is (512,512).

IMPORTANT NOTE : This program does not float the image, but replaces

densities outside box by the average along the

inside perimeter.

10. IMEDIT:

----------

Run online with prompts.  Allows recalculation of DMIN,DMAX,DMEAN, as

well as CELL changes, etc.   Use to dump specified area of image to screen

or printer.

11. MEDIAN:

----------

12. ENHANCE:

-----------

13. IMEXCHANGE:

--------------

Convert image between binary (CCP4 format) & formatted

Modified version of mapexchange, by Phil Evans

Modified to process images, by Rameen Beroukhim, 9/91

Input file:

IMIN (stream 1)

input image, formatted (ascii) or binary CCP4 format.

The program reads the first line of the image to

determine automatically whether the file is formatted

or not.

Output file:

IMOUT(stream 2)

output image: this will be formatted if the input

image is binary & vice versa

14. REMORIG:

-----------

Remove origin peak in transform in order to correct slowly

varying background in image.  Uses inverted cosine bell

with elliptical shape specified by:

IXZERO   X zero for filter in X steps

IYZERO   Y zero for filter in Y steps

Input transform on stream 1 (IN)

Output weighted transform on stream 2 (OUT)

READ(5,*) IXZERO,IYZERO

WRITE(6,1020) IXZERO,IYZERO

1020		FORMAT(///'  Elliptical region removed has semi-axes :',2I5)

15. TAPEREDGE:

-------------

Simple program to taper edges of a rectangular image so that there are

no sharp discontinuities which make the Fourier tranform contain spikes.

Input original image on stream 1 (IN)

Output featheredged image on stream 2 (OUT)

-------------------INPUT-------------------

CARD 1:IAVER,ISMOOTH,ITAPER

CARD 2:JAVER,JSMOOTH,JTAPER

IAVER,JAVER:depths of strips parallel to x & y over which

averaging takes place.

ISMOOTH,JSMOOTH:for each pixel running average calculated

over area defined by (-ISMOOTH to ISMOOTH) x (IAVER).

(Similarly for JSMOOTH)

ITAPER,JTAPER:depth over which tapering takes place.

16. STACKMAN

------------

Program for joining stacks together. Requires a list

of file names. Invoked as :

stackman output_file_name list_of_files