*************************************************************************

*									*

*		SURF and LIGHT: A SET OF PROGRAMS TO PRODUCE		*

*		  A SHADED SURFACE FROM A 3-D DENSITY MAP.		*

*									*

*		Written by Guy Vigers, MRC Cambridge.			*

*									*

*************************************************************************

This set of programs consists of two parts: The first is a program called SURF

that produces a 2-D surface map from a 3-D density array and the second is a

program called LIGHT that shadows the surface from some angle. There is also an

optional program called CON which can be used before SURF to remove unconnected

densities from the map. This process will separate subunits, or remove noise in

the input array. Input and ouput files are in the standard MRC map/image

format, which has a header on each image file containing information about that

image.  The final image can be viewed by any of the standard display programs.

The command files required are:

--------------------------------------------------------------------------

For SURF:

#!/bin/csh -f

#

setenv Filename1 IN

setenv Filename2 OUT

/public/image/bin/surf.exe << 'eot'

THETA, PHI, CLEVEL, FMAG

'eot'

The input data parameters have the following meanings:

THETA is the equatorial  angle for viewing, and is measured about the Z-axis,

anticlockwise in degrees from the X-axis. Thus if THETA = 0, the surface

produced by SURF is of the 3-D input array viewed from the +X axis, looking

towards the origin. If THETA = 90, the input array is viewed looking towards

the origin from the +Y axis.

PHI is the azimuthal angle for viewing, and is positive for Z > 0. Thus if PHI

= 0, the surface produced by SURF is of the 3-D input array viewed along the X

axis, looking towards the origin. If PHI = 90, the input array is viewed

looking towards the origin from the +Z axis.

CLEVEL is the contour level of the surface mapped out. The program has not been

tested for CLEVEL < 0.

FMAG is the magnification of the output array. Thus if FMAG = 1, the pixels in

the output array are of the same size as in the input array. If FMAG = 5.5, the

map is sampled 5.5 times as finely.

Typically Theta, Phi, Clevel, Fmag = 20 30 30 2

************************* LIMITATIONS. ************************************

The input map is read into an array of 560000 real*4. This array size

could be increased, if your machine has room.

The output array is 512*512 maximum. This again could be increased.

If Fmag * (the longest diagonal in the map) > 512, only part of the map

will be searched.

--------------------------------------------------------------------------

For LIGHT:

#!/bin/csh -f

#

setenv Filename1 IN

setenv Filename2 OUT

/public/image/bin/light.exe << 'eot'

THETA, PHI, DEPTH, FDIF, NCOS, FSPEC

'eot'

THETA is the equatorial  angle for illumination. If THETA = 0, the surface is

illuminated from the view point. If THETA = +30, the surface is illuminated

from 30 degrees to the right.

PHI is the azimuthal  angle for illumination. If PHI = 0, the surface is

illuminated from the view point. If PHI = +30, the surface is illuminated from

30 degrees above.

DEPTH controls the depth cueing from front to back of the surface. If DEPTH = 0

the brightest possible pixel at the back  surface has intensity 0, and at the

front has intensity 256. If DEPTH = 1 both have intensity 256

FDIF is the fraction of reflected light that is diffuse

NCOS is cosine power for specular reflection.  Generally NCOS=6;

a higher power makes the surface more highly polished.

FSPEC is the fraction of light in specular reflection.   Any other

light is only depth queued.

Typically Theta, Phi, Depth, Fdif, Ncos, Fspec = -20 -30 0.25 0.75 6 0.

--------------------------------------------------------------------------

!!!!!!!!!!! NOT AVAILABLE ON AL AS OF 13/10/93

For CON:

$AS Filename1 IN

$AS Filename2 OUT

$RUN CON

CLEVEL, IX, IY, IZ, NPOINTS

CLEVEL is the contour level for connectivity. If a pixel has a density above

CLEVEL, but is not connected at that contour level to IX,IY,IZ, the density

value of that pixel is set to 0. IX,IY,IZ start from 1,1,1.

NPOINTS specifies the minimum numbers of adjacent pixels above CLEVEL that are

required for a pixel to be considered as connected. Typically NPOINTS = 4.

All input and output files are standard map/image format files. LIGHT generates

a Byte array, and the other programs generate real*4 arrays.

************************ The SURF Algorithm *******************************

Conceptually, SURF works as follows: The 3-D input map is read into an array

and is rotated through some THETA and PHI viewing angles. The array is then

searched for each value of Y and Z, starting at the most positive X coordinate

and working backwards to the origin until a point is found higher than the

input contour level. This X coordinate is then output in a 2-D array at

position (Y,Z). The 2-D array thus contains a set of numbers that specify the

position of the front face of the object.

In practice, the program is a little more complicated. The input array is not

in fact rotated before searching, but is read into a large 1-D array, and

density values are interpolated from this in a subroutine. It is also possible

to produce a display of the surface sampled more finely than the original 3-D

array. This produces a much clearer display, and in order to save time on the

finer search required for such a display, the following policy is adopted: The

array is first searched at unit magnification, and the surface mapped out

coarsely. A second pass is then made at the desired magnification, and the

search limits for this pass are set by the previous search. If no pixel is

found, then the pixels for those Y,Z coordinates are searched from scratch. The

number of such searches depends on how 'crevassed' the object is, and so CPU

time is proportional to somewhere between the square and the cube of FMAG. All

pixel densities are found by trilinear interpolation from the input array, and

the final X-coordinate is also interpolated between the pixel found above

CLEVEL and the previous pixel. The program searches an array equal in diameter

to the longest diagonal of the input array, to allow for generalised viewing

angles.

*********************** The LIGHT Algorithm *********************************

The output file from SURF is thus a depth-cued surface model.

This is suprisingly uninformative because it does not

provide strong enough clues to the curvature of the surface.

LIGHT therefore applies a shading for illumination incident on the surface

as follows: The angle of illumination of the object is specified and

the normal to the surface is calculated at each point in the

array, by finding the rate of change in depth of adjacent pixels

on the surface. Diffuse intensity is calculated from the cosine of the

angle between the normal and the light source, and specular intensity from

the cosine of the angle between light reflected from the surface

and the direction of view (Brickmann (1983) J.Mol.Graphics 1 : 62-67)

The specular reflection cosine can be raised to

a high power (usually ~6) to produce a small "spotlight" on the object.

The proportions of illumination that are specular, diffuse, or merely

phosphorescent (not dependent on the normal to the surface or on the angle of

illumination) can be specified, as can the degree of linear depth cueing

between the back and the front of the object.

The output map from LIGHT is in byte format, since the raster graphics

system has only 256 grey levels.

************************* MINOR PROGRAMS **********************************

!!!!!!!!!!!  THESE ARE NOT AVAILABLE ON AL AS OF 13/10/93

CON is an optional program which can be used on the three-dimensional map

before input to SURF, to remove unconnected densities from the map.

This process will separate subunits or remove noise in the input

array, and runs by cycling repeatedly through the map to find all

points in the map which are both above a given contour level and

connected to a pre-set point.

Any points above this level that are not so connected are set to zero.

The number of surrounding points above the contour level

required for connectivity can be varied, enabling one to test out more

or less stringent conditions for connectivity.

AEDMONT/AEDTRIC take a series of separate surface arrays from SURF

and produce a single output array of all the surfaces in the input

maps, with the surfaces of different maps displayed in different colours,

and with hidden surfaces removed from the array.

This hidden surface removal is quite straightforward,

since the SURF output arrays specify the depth coordinates of the surfaces.

An example of the output of this program forms the frontispiece of

Viger's PhD thesis.