************************************************************************

*									*

*		    Some useful documentation for:			*

*									*

*	   IMAGE Analysis and file format Programs & Routines		*

*									*

*									*

*	   Last Update:		22-AUG-2000	         		*

*									*

*									*

************************************************************************

*                                                                       *

*                Map/Image Header Format				*

*									*

*        Length = 1024 bytes, organized as 56 LONG words followed	*

*	by space for 10 80 byte text labels.				*

*									*

*       1       NX      number of columns (fastest changing in map)     *

*       2       NY      number of rows                                  *

*       3       NZ      number of sections (slowest changing in map)    *

*       4       MODE    data type :                                     *

*                       0       image : signed 8-bit bytes range -128   *

*                                       to 127                          *

*                       1       image : 16-bit halfwords                *

*                       2       image : 32-bit reals                    *

*                       3       transform : complex 16-bit integers     *

*                       4       transform : complex 32-bit reals        *

*       5       NXSTART number of first column in map (Default = 0)	*

*       6       NYSTART number of first row in map       "              *

*       7       NZSTART number of first section in map   "              *

*       8       MX      number of intervals along X                     *

*       9       MY      number of intervals along Y                     *

*       10      MZ      number of intervals along Z                     *

*       11-13   CELLA   cell dimensions in angstroms                    *

*       14-16   CELLB   cell angles in degrees                          *

*       17      MAPC    axis corresp to cols (1,2,3 for X,Y,Z)          *

*       18      MAPR    axis corresp to rows (1,2,3 for X,Y,Z)          *

*       19      MAPS    axis corresp to sections (1,2,3 for X,Y,Z)      *

*       20      DMIN    minimum density value                           *

*       21      DMAX    maximum density value                           *

*       22      DMEAN   mean density value                              *

*       23      ISPG    space group number 0 or 1 (default=0)           *

*       24      NSYMBT  number of bytes used for symmetry data (0 or 80)*

*       25-49   EXTRA   extra space used for anything  - 0 by default   *

*       50-52   ORIGIN  origin in X,Y,Z used for transforms             *

*       53      MAP     character string 'MAP ' to identify file type   *

*       54      MACHST  machine stamp                                   *

*       55      RMS     rms deviation of map from mean density          *

*       56      NLABL   number of labels being used                     *

*       57-256  LABEL(20,10) 10 80-character text labels                *

*                                                                       *

*	Symmetry records follow - if any - stored as text as in 	*

*	International Tables, operators separated by * and grouped into *

*	'lines' of 80 characters (ie. symmetry operators do not cross 	*

*	the ends of the 80-character 'lines' and the 'lines' do not 	*

*	terminate in a *).						*

*                                                                       *

*       Data records follow.						*

*                                                                       *

*                                                                       *

************************************************************************

Extra notes for clarity :

NX,NY,NZ refer to the number of columns, rows, sections.

MXYZ(3) gives you sampling information. For EM processing they are

normally the same but for CCP4 they describe the way the unit cell is

divided in the map e.g. if the unit cell is 100A and it is in 5A

divisions, the value of MX (or MY or MZ) will be 20.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

Linking libraries:

imsubs2000 calls genlib which is built in the following way :

m4 -D_dec_fortran=1 unix.m4 > unix.for

fsplit unix.for

fsplit diskio.for

fsplit ccplib.for

fsplit dummy.for

fsplit parser.for

fsplit symlib.for

f77 -c  -O1 -fpe0 -assume dummy_aliases -nowarn *.f

cc -c -O -DPROTOTYPE -w library.c

ar cr genlib.a `lorder *.o | tsort`

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

Higher-Level IMAGE File subroutines

===================================

These routine are designed to facilitate the rapid setup and

manipulation of image-format files. Either Sequential access or

Direct access I/O operations may be performed at any time.These routines

will now also cope with map-format files.

In general, the X-Y origin is taken as 0,0 being in the

lower-left corner of the image AND the first data point in the file

(normally corresponding to array element 1,1).

Top of Image		 1,NY	  Array    NX,NY

^ !				   ^ !

! !				   ! !

! !				   ! !

y !				   y !

!_____________   x-->              !_______________  x-->

0,0				    1,1             NX,1

The convention for FOURIER TRANSFORMS is that the transform of

an image of dimensions NX x NY yields a transform of NX/2+1 x NY

COMPLEX values. The origin of Fourier space is located at coordinates

0,NY/2 (disk coordinates, which would normally be 1,NY/2+1 in the FORTRAN

array). In reciprocal lattice units:

X goes from 0 --> 0.5  and Y goes from -0.5 ---> (.5 - deltaY)

Upto 5 image files may be open at any one time!!

-

All higher-level image routines begin with the letter I.

With the exception on the OPEN/CLOSE and Positioning routines a standard

naming convention has been established.

The second 2 letters are chosen from the following.

RD   =  Read

WR   =  Write

CL   =  Calculate

CR   =  Create

AL   =  Alter

TR   =  Transfer

RT   =  Return information

The last 3 letters are chosen from the following:

CDN  =  Density limits (Complex numbers, ie uses Modulus)

CEL  =  unit cell paramters

CON  =	conversion to reals

DEN  =  Density limits

EXT  =  Extra information ("unused" header slots)

HDR  =  Header

LAB  =  Labels

MOD  =  Mode

ORG  =	Origin

RMS  =  RMS deviation

SAM  =  Sampling information

SIZ  =  Size

SYM  =  Symmetry information

LIN  =  Line

SEC  =  Section

PAL  =  Part of Line

PAS  =  Part of Section

Specifications for higher-level image I/O routines:

File Set-Up Routines:

---------------------

CALL IMOPEN(ISTREAM,NAME,ATBUTE)		   Opens file NAME on ISTREAM

CALL IMCLOSE(ISTREAM)				   Closes file

CALL IMFORM(ISTREAM,IFORM)			   Returns flag to indicate

old or new style format

CALL IRDHDR(ISTREAM,NXYZ,MXYZ,MODE,DMIN,DMAX,DMEAN)

Read  header on input file

CALL IWRHDR(ISTREAM,TITLE,NTFLAG,DMIN,DMAX,DMEAN)

Write header to output file

CALL ITRHDR(ISTREAM,JSTREAM)			   Transfer header from JSTREAM

to ISTREAM (does not write!)

CALL ITRLAB(ISTREAM,JSTREAM)			   Transfer labels from JSTREAM

to ISTREAM (does not write!)

CALL ITRCEL(ISTREAM,JSTREAM)			   Transfer CELL parmas  from

JSTREAM to ISTREAM (no write!)

CALL ICRHDR(ISTREAM,NXYZ,MXYZ,MODE,LABELS,NL)	   Create NEW header. The header

is NOT written out. You must

do a IWRHDR.

In general, it is advised that

one use ITRHDR followed by the

appropriate alter calls such as

CALL IALSIZ(....)   etc.

This is preferred because all

information is transferred by

the transfer call.

CALL IALCEL(ISTREAM,CELL)			   Alter unit cell paramters

CALL IALCON(ISTREAM,FLAG)			   Alter conversion to reals.

By default, all data is passed

to the user as REALS or COMPLEX

REALS, independent of storage mode

on disk. This call allows this

to be overridden.

This should be used with CAUTION!!!

FLAG = .TRUE.    conversion to REALS

FLAG = .FALSE.    NO conversion!!!

CALL IALEXT(ISTREAM,EXTRA,ISTART,NEXTRA)	   Alters  info in "unused"

slot in header, starting

at position ISTART.

NEXTRA words are altered.

CALL IALLAB(ISTREAM,LABELS,NL)			   Alters NL labels in header

CALL IALMOD(ISTREAM,MODE)			   Alter MODE on existing header

CALL IALORG(ISTREAM,XORIGIN,YORIGIN,ZORIGIN)	   Alter XY origin information

CALL IALRMS(ISTREAM,RMSDEV)			   Alter RMS deviation

CALL IALSAM(ISTREAM,MXYZ)                          Alter sampling information

CALL IALSIZ(ISTREAM,NXYZ,NXYZST)		   Alter SIZE on existing header

Note, the NXYZST is for your

use ONLY. It is stored in the

file header for interfacing with

the X-ray programs, but all calls

within the image package, are

always taken relative to the

start of each line, or section.

CALL IALSYM(ISTREAM,KSPG,KBS)                      Alters symmetry parameters

KSPG is space group number

KBS is number of bytes of

symmetry data

CALL IALUVW(ISTREAM,IUVW)                          Alters matrix to permute

cell  dimensions.

File Positioning Routine:

-------------------------

CALL IMPOSN(ISTREAM,NZ,NY)			    Move to section NZ, line NY

Default convetions are all

numbers start at 0 !!!!

Line Read/Write Routines:

-------------------------

In all cases, ARRAY is a REAL or COMPLEX REAL data array.

All of these routines convert from/to Integer*2 as required.

CALL IRDLIN(ISTREAM,ARRAY,*LINE)		    Read line  (NX points)

CALL IWRLIN(ISTREAM,ARRAY)			    Write line (NX points)

CALL IRDPAL(ISTREAM,ARRAY,NX1,NX2,*LINE)	    Read  part line (NX1 - NX2)

Data is always loaded into

the FIRST element of ARRAY.

After READ, pointer is at

Start of next line.

CALL IWRPAL(ISTREAM,ARRAY,NX1,NX2)		    Write part line (NX1 - NX2)

from selected region in

core onto disk.

Section Read/Write Routines:

----------------------------

In all cases, ARRAY is a REAL or COMPLEX REAL data array.

All of these routines convert from/to Integer*2 as required.

CALL IRDSEC(ISTREAM,ARRAY,*LINE)		    Read  section

CALL IWRSEC(ISTREAM,ARRAY)			    Write section

CALL IRDPAS(ISTREAM,ARRAY,MX,MY,NX1,NX2,NY1,NY2,*LINE)

Read  part of section

After READ, pointer is at

Start of next section.

CALL IWRPAS(ISTREAM,ARRAY,MX,MY,NX1,NX2,NY1,NY2)    Write  part of section

Other Useful Routines:

----------------------

CALL ICLCDN(ARRAY,MX,MY,NX1,NX2,NY1,NY2,DMIN,DMAX,DMEAN)   (Mod of Complex vals)

CALL ICLDEN(ARRAY,MX,MY,NX1,NX2,NY1,NY2,DMIN,DMAX,DMEAN)   (Real numbers)

Calculates the MIN/

MAX, & MEAN densities

from the selected portion

of ARRAY (assumed to be

image!!). NOTE: Here and

only here does the counting

start from 1.

CALL ICLLIM(ISTREAM,IXYZMIN,IXYZMAX,NXYZ)

Prompts the user to supply

area limit (0,0 lower left)

and returns pixel limits

# pixels, and user limits

IUNIT = IMUNIT(ISTREAM)				    Returns IUNIT which is

compatible with the

LOW-LEVEL routines.

CALL IRTCEL(ISTREAM,CELL)			    returns CELL(6)

CALL IRTEXT(ISTREAM,EXTRA,ISTART,NEXTRA)	    Returns NEXTRA words extra

slot in header, starting

at position ISTART. There

are 29 available words.

CALL IRTLAB(ISTREAM,LABELS,NL)			    Returns LABELS(20,10)

number of labels NL.

CALL IRTORG(ISTREAM,XORIGIN,YORIGIN,ZORIGIN)	    Returns XY origin information

CALL IRTRMS(ISTREAM,RMSDEV)			    Returns RMS deviation

CALL IRTSAM(ISTREAM,MXYZ)                           Returns sampling information

CALL IRTSIZ(ISTREAM,NXYZ,MXYZ,NXYZST)		    Returns SIZE info

CALL IRTSYM(ISTREAM,KSPG,KBS)                       Returns symmetry parameters

KSPG is space group number

KBS is number of bytes of

symmetry data

CALL IRTUVW(ISTREAM,IUVW)                           Returns matrix to permute

cell  dimensions.

Variable Definitions:		(ALL variables are INTEGER*4 or REAL!!)

---------------------

ARRAY:		A storage location for data transfer. NOTE ARRAY is either

REAL*4 or COMPLEX*8 !!!!!

ATBUTE:		File attribute specification. One of the following character

strings must be given:  'NEW'  'OLD'  'RO'  or  'SCRATCH'

DMIN/DMAX/	The minimum, maximum, & mean density values for this image.

DMEAN:

EXTRA(25)	An array (up to 25 long) or a storage location for holding

the values for the EXTRA info slot in the header.

IFORM:		-1 Old 20th century style map, 0 new 2000 format with

machine stamp in header.

ISTART:		A number between 1-29 to select the first element of the

EXTRA info to transfer.

ISTREAM/	A number between 1 and 12 used to select which file

JSTREAM:	to use for READ/WRITE operations. A maximum of 5

files can be active at any one time.

IXYZMIN(3)/	Returned lower & upper pixel limits that correspond to user

IXYZMAX(3):	selected input range. (pixels have 0,0 at bottom left)

MODE:		Defines data structure on disk:

0 = INTEGER*1	 IMAGE note:values between 127 & 255

stored as -128 to -1 but returned

as their original values.

1 = INTEGER*2    IMAGE

2 = REAL*4       IMAGE

3 = INTEGER*2    FOURIER TRANSFORM

4 = REAL*4       FOURIER TRANSFORM

MX/MY:		Dimensions of ARRAY. If transferred data size is smaller

than MX,MY the remainder of the space will be set to 0.

Note: MX correspons to the number of REAL numbers in the

fast dimension of ARRAY. If MODE = 3 or 4 (Fourier

Transform) MX MUST be multiplied by 2!!!

MXYZ(3):	Specifies the number of columns, rows, & sections in the

entire "unit cell"  (can be identical to NXYZ).

LABELS(20,N)	N = 1 - 10. This is a way to initialize more than

one text label when creating a new header. LABELS(20)

is also permitted. Each label is 80 characters long (A4).

NAME:		A character string specifying either the FILENAME or

a LOGICAL name to associate with a given stream.

NEXTRA:		A number bewteen 1-25 to select the number of EXTRA

value to transfer.

NL:		The number of LABELS being initialized (see LABELS, above).

NTFLAG:		-1 no titles added to list.

0 to use TITLE as sole title on file (overwrites old title).

1 to add TITLE to end of list.

2 to add at top, pushing any other labels down.

NX1/NX2:	Beginning & ending COLUMN numbers for data transfer.

On reading these numbers are relative to NXTZST(1).

For Fourier Transforms, these are taken as Complex Indicies!!!

NXYZ(3):	Specifies the number of columns, rows, & sections in the

current file (ie. fastest -> slowest changing).

NXYZST(3):	Specifies the starting column, row and section number.

Note, the NXYZST is for your use ONLY. It is stored in the

file header for interfacing with the X-ray programs, but all

calls within the image package, are always taken relative to

the start of each line, or section. The start is ALWAYS

denoted by 0.

NY:		Line number for positioning pointer. This value

is relative to NXYST(2)

NY1/NY2:	Beginning & ending ROW    numbers for data transfer.

On reading these numbers are relative to NXTZST(2).

NZ:		Section number for positioning pointer. This value

is relative to NXYST(3)

TITLE(20)	80 character title. Written as dictated by NTFLAG.

XORIGIN/	The X,Y,Z image origin (generally used for relating

YORIGIN		phase origins). ZORIGIN set to zero for 2D images.

ZORIGIN:

*LINE		LINE is a statement number to branch to on an

END-OF-FILE error. Example:   *99

LOW-LEVEL Random-Access Subroutines.

====================================

The LOW-LEVEL set of FORTRAN subroutines for doing

either sequential or random access disk I/O with

with variable record lengths are indicated below.

The files are actually written as fixed-record

direct-access files, but this is transparent to

the user.

the calls provided are:

CALL QOPEN   (IUNIT,FILNAM,ATBUTE)        - Open file

CALL QCLOSE  (IUNIT)                      - Close file

CALL QMODE   (IUNIT,MODE,NMCITM)          - Change mode

CALL QREAD   (IUNIT,ARRAY,NITEMS,IER)     - Read nitems

CALL QREADI  (IUNIT,ARRAY,NITEMS,IER)     - Read nitems into integer array

CALL QREADR  (IUNIT,ARRAY,NITEMS,IER)     - Read nitems into real array

CALL QREADQ  (IUNIT,ARRAY,NITEMS,IER)     - Read nitems into complex array

CALL QREADC  (IUNIT,CHAR,IER)             - Read bytes into character var.

CALL QWRITE  (IUNIT,ARRAY,NITEMS)         - Write nitems

CALL QWRITI  (IUNIT,ARRAY,NITEMS)         - Write nitems from integer array

CALL QWRITR  (IUNIT,ARRAY,NITEMS)         - Write nitems from real array

CALL QWRITQ  (IUNIT,ARRAY,NITEMS)         - Write nitems from complex array

CALL QWRITC  (IUNIT,CHAR)                 - Write bytes from character var.

CALL QSEEK   (IUNIT,IREC,IEL,LRECL)       - Move to irec,iel

CALL QBACK   (IUNIT,LRECL)                - Backspace 1 record

CALL QSKIP   (IUNIT,LRECL)                - Skip 1 record

CALL QQINQ   (IUNIT,LFILNM,FILNAM,LENGTH) - Get filename and length

CALL QLOCATE (IUNIT,LOCATE)               - Get position in file

CALL QRARCH (IUNIT, IOFFSET)              - set up number conversion

CALL QWARCH (IUNIT, IOFFSET)              - write conversion info

QSEEK calculates the location as (IREC - 1)*LRECL + IEL. Note: as in

Fortran, addressing begins at 1 for both record & element

In these files, there are no true records: the use of "record length"

and "record number" in QSEEK, QSKIP, QBACK is purely notional.

For QSEEK, any combination of IREC, IEL & LRECL which gives the

same value of (IREC - 1)*LRECL + IEL is equivalent.

Where:

IUNIT  = Variable returned by (Q)QOPEN to identify a file stream

FILNAM = file name for the stream (should be restricted to eight

characters for CCP4 programs)

ATBUTE = File status for opening file

= 'UNKNOWN', 'SCRATCH', 'OLD', 'NEW', or 'READONLY'

ISTAT  = File status on opening the file:

1, 'UNKNOWN'   open as 'OLD'/'NEW' check existence

2, 'SCRATCH'   open as 'OLD' and delete on closing

3, 'OLD'       file MUST exist or program halts

4, 'NEW'       create (overwrite) new file

5, 'READONLY'  self explanatory

NOTE: When using QQOPEN or QOPEN with ATBUTE = 'NEW' [ISTAT = 4],

a check is made on the environment variable CCP4_OPEN -

if this is set to UNKNOWN then the file is opened with

attribute UNKNOWN rather than NEW to allow overwriting files

that already exist.